BSK®-Clear Water Decanters for SBR-WWTPs

Questionnaire as Basis for a Quotation

# Basic Information

| 1.1 | Project code ¦ Project no.: |  |  |
| --- | --- | --- | --- |

| 1.2 | Your name : |  |
| --- | --- | --- |

| 1.3 | Your company (name): |  |
| --- | --- | --- |

| 1.4 | Company address: | postal code | town |
| --- | --- | --- | --- |
|  |  | street |  |
|  |  | country |  |

| 1.5 | Your office phone number: |  |
| --- | --- | --- |

| 1.6 | Your mobile phone number: |  |
| --- | --- | --- |

| 1.7 | E-Mail-address: |  |
| --- | --- | --- |

| 1.8 | Other: |  |
| --- | --- | --- |

# Detailed Project Information

| 2.1 | Project location: | country: | town: |
| --- | --- | --- | --- |

| 2.2 | Expansion or new construction? | expansion | new construction |
| --- | --- | --- | --- |

| 2.3 | Quantity of SB-Reactors: |  | #### each |
| --- | --- | --- | --- |

| 2.4 | Quantity of decanters per reactor: |  | #### each |
| --- | --- | --- | --- |

| 2.5 | Kind of reactor: | circular | rectangular |
| --- | --- | --- | --- |

| 2.6 | Imbedding of reactor below ground: |  | m |
| --- | --- | --- | --- |

| 2.7 | Geometrical figures of the SB-Reactor(s): | diameter (circular tanks): | m |
| --- | --- | --- | --- |
|  |  | length x width at rectangular/ square tank(s): x | m |
|  |  | clear height of reactor: | m |

| 2.8 | Material of SB-Reactor: | concrete | precast concrete |
| --- | --- | --- | --- |
|  |  | glass coated steel | steel |
|  |  | others: |  |

| 2.9 | Drawing of SB-Reactor / project: | attached not available freehand-sketch attached |
| --- | --- | --- |

| 2.10 | Covering of reactor: | without cover | with cover |
| --- | --- | --- | --- |

| 2.11 | In case of cover: Kind of covering: | plastic dome | concrete floor |
| --- | --- | --- | --- |
|  |  | others: |  |

| 2.12 | Hydraulic performance data: | discharge quantity/reactor: | m³ |
| --- | --- | --- | --- |
|  |  | decanting time: requested number of decanters/reactor: redundancy of decanters is required | h ea. |

| 2.13 | Special requirements with respect to the discharge hydraulic: (recommendation: decreasing of discharge quantity) | discharge quantity must be relatively constant discharge quantity should decrease with increasing proximity to the sludge level (to avoid whirling up close to the sludge level) |  |
| --- | --- | --- | --- |
|  |  | max. allowed discharge quantity per reactor (by possible limits at the discharge side): | m³/h |

| 2.14 | Maximum water level (“TWL”): Minimum water level (“BWL”): Distance of the effluent pipe above bottom of tank (“OL”): (Please see following illustration) | not less than not more than exactly no preference | m m m m m |
| --- | --- | --- | --- |

| 2.15 | Direction of discharge pipe: | horizontally through the reactor wall vertically downwards through the reactor bottom |
| --- | --- | --- |

| 2.16 | Decanter-pipe end designed as: | DIN-flange free pipe end with pipe coupling |
| --- | --- | --- |

| 2.17 | Kind of outflow condition behind the decanter: | free discharge without counterpressure discharge into a storage basin with max. m back pressure above bottom of the reactor |
| --- | --- | --- |

| 2.18 | Requested material for all parts of the decanter (parts below water (wetted parts): | stainless steel, 1.4301 (V2A) – AISI 304 stainless steel, 1.4571 (V4A) – AISI 316 special material request: |
| --- | --- | --- |

| 2.19 | Ex-zone | yes, according to ATEX zone no |
| --- | --- | --- |

| 2.20 | Available electrical supply: | 400 V / 50 Hz / 3 phases – or |
| --- | --- | --- |
|  |  | special conditions: Volt / Hz |

| 2.21 | Shadow temperatures (summer/winter) and humidity: | maximum summer temperature: + °C minimum winter temperature: °C low air humidity high air humidity |
| --- | --- | --- |

| 2.22 | Specific requests for operation control (immersion- and operation control): | standard control with limit switches (winch) immersion control with conductive sensor immersion control with pressure sensor sludge density control (turbidity sensor) |
| --- | --- | --- |

| 2.23 | Other requested equipment – individual requirements of our customer: (if necessary, detailed requirements could be attached to this questionnaire) |  |
| --- | --- | --- |

Example of a local switchbox for one BSK®-decanter. The cabinet could be produced by use of glass fiber reinforced plastic (GRP) or stainless steel. Moreover, the front side could be covered by a moveable door with glass-window (for protection of dust).

Example of a local stand-alone control system (plug and play), operating two (2) BSK®-decanters completely independent to the customer’s PLC. This cabinet is equipped with a moveable cover with glass window. glass-window (for protection of dust).

| 2.24 | Electrical control of the decanting process: | a local control of the winch-operation is provided by our customer (based on information by Biogest International) a local switchbox for test-run shall be delivered by Biogest International a complete control panel including PLC and all necessary equipment for operating the decanter shall be delivered by Biogest International additional requirements or specific requests: |
| --- | --- | --- |

BSK®-decanting winch including drum, electrical drive and limit switchbox 	Emergency limit switch to prevent uncontrolled lifting 
		of the decanter

# 3.	Additional Information and Specific Requests for our Quotation

| 3.1 | Project background: | only feasibility study current project (shortly tendered) already published public tender already published private tender project realization time frame (MM/YYYY): / |
| --- | --- | --- |

| 3.2 | Individual background: | decanter for own needs (I am plant operator) planning office (wants to include BSK®-decanters) reseller (we are buying and selling for a concrete project) others: |
| --- | --- | --- |

| 3.3 | Requested delivery time (in case of order): | months after placement of the order |
| --- | --- | --- |

| 3.4 | Requested delivery term: (Incoterms 2010) | ex works (EXW) free carrier delivered at place (DAP) free harbour (CIF) name of harbour / delivery place |
| --- | --- | --- |

| 3.5 | Requested service performed by Biogest International: | only supervision of assembly (assembly by customer) including complete assembly start-up and training of local personnel |
| --- | --- | --- |

| 3.6 | Technical documentation: | German English French |
| --- | --- | --- |
|  |  | digitally via e-mail printed - fold |

| 3.7 | Language of offer: | German | English |
| --- | --- | --- | --- |

| 3.8 | Required submittal date of quotation: | occasionally, not top-urgent, but latest at asap, latest Immediately!! We need the quotation until |
| --- | --- | --- |

| 3.9 | Additional documents to be added as attachment of the quotation: (please attach these documents to the offer) | info bulletin “BSK®-Decanter” reference list reference photographs |
| --- | --- | --- |
| (mit dem Angebot zusenden) |  |  |

| 3.10 | Attached documents / information to complete this questionnaire: | technical specification extract of tender documents project drawing(s) |
| --- | --- | --- |

| 3.11 | Kind of delivery of the reque sted quotation: | by e-mail by conventional mail |
| --- | --- | --- |

| 3.12 | Responsible person for this questionnaire and address for quotation: | name: direct dial: e-mail: |
| --- | --- | --- |

……………………………………………………

(Place) 	(Date)